Verification of Calibration

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Customer Name** |  |  | **Test Result** | Pass |
| **Instrument** | TS-1 |  | **Type** | S |
| **Serial Number** |  |  | **Standard** | IPTS68 |
| **Procedure** | CC-1 |  | **Data type** | As Found |
| **Technician** | Anand Korlimarla |  | **Date Verified** | 11/18/2021 |

Instruments Used

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Model** | **Serial Number** | **Description** | **Calibration date** | **Calibration Due date** | **Certificate Number** |
| CC-1 | 001 | SYSCON Calibration Checker | 11/17/2021 | 11/18/2022 | 20221014-001-CC1 |

**Table 1: Test Results**

|  |  |
| --- | --- |
| Test Point (°F) | As Found Reading (°F) |
| 2450 |  |
| 2700 |  |
| 3050 |  |

|  |  |  |  |
| --- | --- | --- | --- |
| Checked By | Anand Korlimarla | Date | 11/18/2021 |

Verification of Calibration

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Customer Name** |  |  | **Test Result** | Pass |
| **Instrument** | FL-1 |  | **Type** | S and K |
| **Serial Number** |  |  | **Standard** | IPTS68 and IPTS 48 |
| **Procedure** | CC-1 |  | **Data type** | As Found |
| **Technician** |  |  | **Date Verified** | 11/18/2021 |

Instruments Used

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Model** | **Serial Number** | **Description** | **Calibration date** | **Calibration Due date** | **Certificate Number** |
| CC-1 | 001 | SYSCON Calibration Checker | 11/17/2021 | 11/18/2022 | 20221014-001-CC1 |

**Table 1: Test Results**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Test Point(°F) | | As Found Reading (°F) | | | |
| Type K | Type S | Chan 1  K-68 | Chan 2  K-68 | Chan 3  K-68 | Chan 4  S-68 |
| TEST POINT 1 | 2050 | 2450 |  |  |  |  |
| TEST POINT 2 | 2150 | 2700 |  |  |  |  |
| TEST POINT 3 | 2250 | 3050 |  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| Checked By |  | Date |  |